**S2013 Steam Solenoid Valve**

S2013 Series Steam Solenoid Valves are 2/2 way, normally closed, pilot operated, high pressure, solenoid valve. It can reach higher pressure than other solenoid valves in the S20 series. It has PTFE diaphragm.

S20 Series Steam Solenoid Valves are special valves for hot water and steam lines. It is generally preferred in industrial ironing machines, steam boilers and textile sectors.

If there is dirty fluid containing particles on the line where the solenoid valve is used, it is recommended to use a filter. Otherwise, particles in the fluid will block the line through which the fluid passes and prevent the valve from operating.

TORK solenoid valves are 100% domestic production. In case of malfunction or maintenance, you can get original TORK brand spare parts from our company.

|  |  |  |
| --- | --- | --- |
| **Application** | **:** | Steam, hot water |
| **Size** | **:** | 3/8", 1"  |
| **Working Pressure** | **:** | 0,5…6 Bar  |
| **Core Tube** | **:** | Stainless |
| **Body** | **:** | Brass |
| **Seal** | **:** | PTFE  |
| **Fluid Temperature** | **:** | -10°C…160 °C |
| **Position** | **:** | Normally closed |
| **Coil Voltage** | **:** | 230V, 110V, 48V, 24V, 12V  AC; 110V, 48V, 24V, 12 V DC |
| **Protection Class** | **:** | IP65  (on request IP68 ) |